## Slide 1
BEHAVIORAL HEALTH & SUBSTANCE USE DISORDER COMMITTEE
May 28, 2019
URINE DRUG TESTING (UTD)

## Slide 2: Workflow Suggestions – Urine Drug Testing (UDT)
If SUD is suspected
For a baseline when prescribing medications
If treating SUD:
  With changing frequency (decrease as patient progresses)
  If relapse suspected
  If patient exhibits aberrant behavior
  Randomly to monitor
More regularly if prescribing meds with abuse potential
Obtain a CLIA waiver
Develop policies and procedures for testing, training, and quality control
Develop testing protocols (specimen collection, POCT, lab confirmation)
Establish confidentiality safeguards; receive consent for sharing results
Train staff in POCT devices, specimen collection, and appropriate language
Establish record keeping procedures
Prepare storage sites
Arrange pickup for labs
How to Prepare
How to Collect
How to Document
When to Screen
Try to avoid direct observation unless tampering is suspected
  Other strategies: removing potential adulterants, placing blue dye in toilet ,and preventing carrying personal items
Document specimen’s appearance and color
Use temperature-sensitive strip on outside
Record temperature within 4 minutes
For reimbursement, ensure:
  Written procedures for POCTs
  Inventory control – lot #s and expiration dates
  Staff training and reassessment
  QA test results
  Problems and resolution
  Copies of lab tests (orders and results)
  Accurate patient medical records
SUBSTANCE USE DISORDER APPROACH TO UDT
Positive POCT results should be followed up by a laboratory confirmatory test if patient does not confirm substance use from a presumptive test
Notes: Sources: SAMHSA 2012 – Clinical Drug Testing in Primary Care; ASAM – 2017 Consensus Statement on Drug Testing in Clinical Settings

## Slide 3: Screening Frequency
SUBSTANCE USE DISORDER APPROACH TO UDT
Recommended Frequency for Urine Drug Testing | 
Level of misuse risk | Frequency
Low (no risk factors) | Every 6 to 12 months
Moderate | Every 3 to 6 months
High (mental health disorder, SUD, prior opioid misuse, aberrant behavior*) or opioid dosage > 120 MME | Every 1 to 3 months
*Aberrant behavior includes but is not limited to lost prescriptions, multiple requests for early refills, opioid prescriptions from multiple physicians, unauthorized dose escalation, and apparent intoxication
Whenever possible, the schedule of screenings should be random and unannounced.
When treating for SUD, test more frequently at the beginning of treatment, and at least monthly once stable.
Notes: Source: Urine Drug Tests: Ordering and Interpretation. American Family Physician. January 2019; ASAM – 2017 Consensus Statement on Drug Testing in Clinical Settings
ASAM Drug Testing Infographic - https://www.asam.org/images/default-source/default-album/settings-and-levels-of-care-infographic-6-23-17_asam.jpg?sfvrsn=78fe7cc2_0
For discussion: can any of our recommended screenings (e.g., ORT) be used to identify aberrant behavior?

## Slide 4: Optimal Opioid Management – UDT
SUBSTANCE USE DISORDER APPROACH TO UDT
Resources
  ASAM Pocket Guide
    http://eguideline.guidelinecentral.com/i/840070-drug-testing-pocket-guide/
  ASAM Drug Testing Infographic
    https://www.asam.org/images/default-source/default-album/settings-and-levels-of-care-infographic-6-23-17_asam.jpg?sfvrsn=78fe7cc2_0
Trainings:
  ASAM E-Learnings (available for CME credit)
    https://elearning.asam.org/drugtestingwebinars
Notes: Per HHS document….
o Urine Drug Testing (UDT) we agreed to have it as part of patient agreement and due annually, more often as provider deemed appropriate and were asking for 1-2 committee members to work with us on UDT workflow and considerations. The draft indicates some unintended results when UDT is not screened and used with care. We will need to follow through with this (February Meeting)

## Slide 5: Key Considerations
SUBSTANCE USE DISORDER APPROACH TO UDT
Urine drug screens are not a diagnostic for a substance use disorder
Treatment decisions should not solely be made on a urine drug screen
Notes: Per HHS document….
o Urine Drug Testing (UDT) we agreed to have it as part of patient agreement and due annually, more often as provider deemed appropriate and were asking for 1-2 committee members to work with us on UDT workflow and considerations. The draft indicates some unintended results when UDT is not screened and used with care. We will need to follow through with this (February Meeting)